## Sheet1
GOVT. POLYTECHNIC BOLANGIR LESSON PLAN
Discipline : ELECTRICAL ENGG. | Semester: 6th Sem | Name of the Teaching Faculty : Saiswarup Patel
Subject : Testing & Maintenance | No. of Days / per week class allotted : 05 | Semester From date : 15.04.2021 To Date : 31.07.2021 No. of Weesks : 15
Week | Class Day | Topics
2nd week of APRIL | 1st | Chapter 1 ( Installation, Commissioning & Testing of Machine )
| 2nd & 3rd | 1.1. Inspection of arrival of machine and inspection procedure before its installation.
| 4th & 5th | 1.2. Generalized procedure of installation of Electrical machines.
3rd week of APRIL | 1st & 2nd | 1.3. Electric wiring for motors and switch gears
| 3rd, 4th & 5th | General requirement for Electric Installation according to Indian Electricity rules.
4th week of APRIL | 1st & 2nd | 1.5. Necessity of starters and relays for both DC and AC machines.
| 3rd, 4th & 5th | 1.6. Testing before giving supply and testing report.
1st week of MAY | 1st | Tutorial class
| 2nd | Tutorial class
| 3rd | Chapter 2 ( Installation, Commissioning & Testing of Transformer )
| 4th & 5th | 2. 1 Basic idea on dispatch, inspection, storage and handling of transformer
2nd week of MAY | 1st & 2nd | 2. 2 Civil construction feature regarding connection like ventilation, noise level, Space for free movement.
| 3rd | 2. 3 Foundation and drainage of oil.
| 4th & 5th | 2. 4 Cabling and cable box for transformer.
3rd week of MAY | 1st & 2nd | 2. 5 Provision for fire protection.
| 3rd | 2. 6 Provision for bushing support location of switch gear.
| 4th & 5th | 2. 7 Steps for commissioning fitting of all accessories.
4th week of MAY | 1st | 2. 8 Filling of oil, drying out.
| 2nd | 2. 9 Charging the breather with fresh silica gel.
| 3rd & 4th | 2. 10 Cleaning of bushing, fixing of conductor & cables, earthing of tank and cover,neutral earthing.
| 5th | 2. 11 Fixing of protection circuits and setting of relays.
1st week of JUNE | 1st | Tutorial class
| 2nd | Tutorial class
| 3rd | Chapter 3 ( Installation, Commissioning & Testing of Sub- station )
| 4th | 3 . 1 Design and planning of indoor substation.
| 5th | 3 . 2 General requirement of layout of indoor substation with key diagram.
2nd week of JUNE | 1st | 3 . 4 Installation of outdoor substation:
| 2nd | 3.4.1 Selection of site, transport & receipt of transformer, checking of
| 3rd | insulation resistance of the winding, testing of transformer oil,
| 4th | protection fittings, construction of mounting, earthing arrangement
| 5th | and final commissioning.
3rd week of JUNE | 1st | 3 . 5 Testing and commissioning of substation.
| 2nd | 3.5.1. Installation of control and relay panels.
| 3rd | 3.5.2. Preliminary preparation.
| 4th | 3.5.3. Sequence card for erection of switch gear equipments.
| 5th | 3.5.4. Location of place
4th week of JUNE | 1st | 3.5.5. Unpacking
| 2nd | 3.5.6. Foundation
| 3rd | 3.5.7. Erection
| 4th & 5th | 3.5.8. Relays
1st week of JULY | 1st | 3 . 6 Bus-bar earthing connection, Earthing.
| 2nd | 3.6.1. Connection to main cable.
| 3rd | 3.6.2. Safety precaution
| 4th | 3 . 7 Installation of outdoor circuit breaker:
| 5th | 3.7.1. Receipt and storage.
2nd week of JULY | 1st | 3.7.2. Civil works.
| 2nd | 3.7.3. Various steps for installation.
| 3rd | 3 . 8 Pre-commissioning tests.
| 4th | Tutorial class
| 5th | Tutorial class
3rd week of JULY | 1st | Chapter 4 ( Maintenance )
| 2nd | 4.1 Fundamental of maintenance.
| 3rd | 4.2 Preventive maintenance and planning.
| 4th | 4.3 Advantages of Preventive maintenance
| 5th | 4.4 Breakdown maintenance: List of tools / instruments and materials used for maintenance.
4th week of JULY | 1st | 4.5 Making or Preparing Maintenance schedule of DC machines, Induction machine
| 2nd | Synchronous machines, Transformer, Transmission line, Distribution lines
| 3rd | Underground cables, Circuit breakers, Switch gear and protective relays
| 4th | and substations, SF-6 circuit breakers, Batteries in substation.
| 5th | Tutorial class